The second roadmap is significantly stronger from an implementation and thesis-execution perspective, while the first roadmap is stronger in research methodology structure and objective traceability.

A robust PhD/MPhil-level methodology should combine:

- The research rigor and objective mapping of the first roadmap.

- The engineering depth and implementation realism of the second roadmap.

- Additional emphasis on novelty validation, ablation studies, and deployment readiness.

- Unified Research and Development Methodology

- Phase 1: Problem Characterization and Baseline Protection Assessment

- (Addresses Objective 1)

- Research Tasks

- Literature review on:

  - DOCR coordination

  - High-PV protection challenges

  - Metaheuristic relay coordination

  - RL and MARL applications in power systems

- Develop baseline relay coordination models using:

  - IEC 60255 inverse curves

  - CTI constraints

  - TDS constraints

  - Plug setting constraints

- Model IEEE:

  - 8-Bus

  - 30-Bus

  - 39-Bus systems

- Integrate distributed PV generation.

- Evaluate:

  - Reverse power flow

  - Fault current suppression

  - Relay blinding

  - False tripping

  - CTI violations

- Coding Tasks

Develop:

network_models/
    ieee8.py
    ieee30.py
    ieee39.py

relay_models/
    docr.py
    relay_coordination.py

- Deliverables

- Baseline protection performance

- PV penetration threshold analysis

- Identification of coordination failure mechanisms

- Phase 2: Dynamic High-PV Distribution Network Environment

- (Supports Objectives 1,2,4)

This becomes the digital twin used by MARL.

- 2.1 Dynamic Power Flow Engine

Implement:

pandapower

for:

- AC load flow

- Dynamic topology updates

- Time-varying PV generation

- 2.2 PV Fault Current Model

Implement:

- IEEE 1547-2018

and

- IEC inverter behavior

including:

Ifault=1.2−1.5 p.u.I_{fault}=1.2-1.5\,p.u.Ifault​=1.2−1.5p.u.

fault contribution limits.

- 2.3 Stochastic PV Generation

Generate:

- Synthetic

Markov-chain irradiance profiles.

- Real Data

Historical irradiance data.

Possible source:

- NREL

- Local Ghana solar datasets

- 2.4 Dynamic Fault Engine

Inject:

- 3-phase

- LL

- LLG

- SLG

faults.

Randomize:

- location

- resistance

- duration

- 2.5 Network Reconfiguration Module

Simulate:

- N−1 contingencies

- feeder switching

- islanding

- DG connection/disconnection

- Deliverables

environment/
    dynamic_env.py
    pv_model.py
    topology_manager.py
    fault_injector.py

- Phase 3: Decentralized Relay Agent Design

- (Addresses Objective 2)

- Agent State Space

Each relay observes:

st=[V,I,θ,Pdir,CTImargin,PVlocal,Topology]s_t= [V,I,\theta,P_{dir}, CTI_{margin}, PV_{local}, Topology]st​=[V,I,θ,Pdir​,CTImargin​,PVlocal​,Topology]

Expanded observation:

obs=[
TDS,
PS,
Current,
CurrentAngle,
Voltage,
PowerDirection,
NeighborTDS,
NeighborPS,
CTISlack,
TimeSinceFault
]

- Action Space

Continuous:

at=[TDS,PS]a_t= [TDS,PS]at​=[TDS,PS]

subject to:

0.05≤TDS≤1.10.05 \le TDS \le 1.10.05≤TDS≤1.1 0.5≤PS≤2.50.5 \le PS \le 2.50.5≤PS≤2.5

- Reward Function

Multi-objective:

R=Rspeed+RCTI+Rselectivity+RadaptationR= R_{speed} + R_{CTI} + R_{selectivity} + R_{adaptation}R=Rspeed​+RCTI​+Rselectivity​+Radaptation​

Penalty for:

- CTI violations

- Relay miscoordination

- Excess communication

- Deliverables

agents/
    relay_agent.py

- Phase 4: Communication-Efficient MARL Framework

- (Addresses Objective 3)

This is the principal novelty.

- 4.1 Communication Graph

Implement:

NetworkX
PyTorch Geometric

Communication network:

G=(V,E)G=(V,E)G=(V,E)

where:

- Nodes = Relays

- Edges = communication links

- 4.2 Message Compression

Each relay transmits:

message=
Encoder(local_state)

compressed into:

8 floats

instead of full-state broadcasting.

- 4.3 Cooperative MARL Algorithms

Implement:

- Independent PPO

Baseline

- MAPPO

Primary candidate

- QMIX

Value decomposition

- MADDPG

Continuous control benchmark

- 4.4 Hierarchical Value Learning

V=αVlocal+βVneighbor+γVglobalV= \alpha V_{local} + \beta V_{neighbor} + \gamma V_{global}V=αVlocal​+βVneighbor​+γVglobal​

allowing decentralized execution.

- Deliverables

marl/
    mappo.py
    qmix.py
    maddpg.py
    communication_graph.py

- Phase 5: Safe and Adaptive Learning

- (Addresses Objectives 3 and 5)

- 5.1 Constraint-Aware Learning

Enforce:

CTI≥0.3sCTI \ge 0.3sCTI≥0.3s

using:

- Barrier Functions

- Augmented Lagrangian

- Safe RL

- 5.2 Curriculum Learning

Training progression:

| Stage | PV | Topology |
| --- | --- | --- |
| 1 | 0% | Static |
| 2 | 25% | Static |
| 3 | 50% | Minor Changes |
| 4 | 75% | Moderate Changes |
| 5 | 100% | Highly Dynamic |

- 5.3 Continual Learning

Apply:

- Elastic Weight Consolidation (EWC)

to avoid catastrophic forgetting.

Target:

Adaptation<50Adaptation < 50Adaptation<50

steps.

- Deliverables

safety/
    safe_rl.py

continual_learning/
    ewc.py

- Phase 6: Benchmarking and Comparative Evaluation

- (Addresses Objective 4)

- Baselines

- Metaheuristic

- GA-SQP

- HWOA

- HHO

- JAYA

- EEO

- RL

- DQN

- PPO

- Centralized PPO

- Experimental Matrix

| Variable | Levels |
| --- | --- |
| System | 8,30,39 Bus |
| PV | 0,25,50,75,100% |
| Topology | Normal,N−1,Sectionalized |
| Fault | 3PH,LL,LLG,SLG |
| Seeds | 30 |

Total:

3×5×3×4×30=54003 \times 5 \times 3 \times 4 \times 30 = 54003×5×3×4×30=5400

experiments.

- Performance Metrics

- Total operating time

- CTI violations

- Selectivity index

- Detection speed

- Adaptation speed

- Learning convergence

- Communication bandwidth

- Packet efficiency

- Ablation Studies

Remove one component at a time:

- No communication

- No GNN

- No safe RL

- No curriculum

- No EWC

to quantify contribution.

- Phase 7: Robustness and Generalization Validation

- (Addresses Objective 5)

- Communication Robustness

Inject:

Delay

10 ms

50 ms

100 ms

250 ms

500 ms

- Packet Loss

Loss

5%

10%

20%

30%

- Generalization

Train:

- IEEE 8-bus

Test:

- IEEE 30-bus

Train:

- 8 + 30

Test:

- 39-bus

- Unseen Faults

Train:

- 3PH

Test:

- SLG

- LLG

- Deliverables

robustness/
    delay_test.py
    packet_loss.py
    unseen_faults.py

- Phase 8: Real-Time Deployment Feasibility

- (Addresses Objective 5 and Knowledge Contribution d)

- Edge Inference

Export trained policies:

ONNX
TorchScript

- Latency Analysis

Verify:

Tdecision<TrelayT_{decision} < T_{relay}Tdecision​<Trelay​

Target:

<100 ms

- IEC 61850 Integration

Develop:

GOOSE
Sampled Values
MMS

interfaces.

- Hardware-in-the-Loop (HIL)

Possible platforms:

- OPAL-RT

- RTDS

- Typhoon HIL

- Cybersecurity Layer

Evaluate:

- Byzantine agents

- False-data injection

- Communication spoofing

- Phase 9: Statistical Validation and Knowledge Extraction

- Statistical Tests

- Friedman Test

Overall comparison.

- Nemenyi Post-Hoc

Pairwise comparison.

- Wilcoxon Signed-Rank

Method comparison.

- Cliff's Delta

Practical significance.

- Knowledge Extraction

Demonstrate:

- Communication-efficient MARL reduces bandwidth while preserving protection performance.

- Decentralized MARL maintains zero CTI violations at high PV penetration.

- MARL adapts faster than centralized optimization.

- MARL generalizes to unseen topologies and faults.

- Real-time deployment is feasible.

- Why this Unified Roadmap is Stronger

The combined methodology adds several elements that examiners and journal reviewers will expect:

✔ Direct mapping to all five objectives.

✔ Strong power-system realism (pandapower, IEC 60909, IEEE 1547).

✔ Novel MARL contribution (communication-efficient cooperative learning).

✔ Safe RL contribution (constraint-aware coordination).

✔ Continual learning contribution (topology adaptation).

✔ Comprehensive baselines (metaheuristics + single-agent RL + centralized RL).

✔ Ablation studies to prove novelty.

✔ Statistical significance testing.

✔ Deployment feasibility through IEC 61850 and HIL validation.

✔ Clear path from simulation to practical utility deployment.

This unified version is sufficiently rigorous for an MPhil thesis and is also structured to produce one or more journal publications in power-system protection, smart grids, and multi-agent reinforcement learning.