- UNIFIED METHODOLOGY: 8-Phase Development Plan (24 Weeks)

sandbox:///mnt/agents/output/unified_methodology.png

- COMPARATIVE ANALYSIS: Three Sources Mapped

Table

| Source | Strengths | Weaknesses | What It Contributed to the Unified Plan |
| --- | --- | --- | --- |
| Thesis Objectives (Your uploaded chapter) | Strong motivation, clear novelty claims, real-world deployment vision | No implementation details, no algorithm choices, no timeline | Research questions, novelty claims (a-d), success metrics |
| AI-Proposed Roadmap (My first response) | Concrete algorithms (GNN, EWC, Augmented Lagrangian), detailed code architecture, 24-week timeline | Over-engineered for thesis scope, missing some user-requested baselines | Technical architecture, safe RL design, continual adaptation, deployment pathway |
| User Methodology (Your pasted methodology) | Comprehensive 8-phase structure, explicit coding tasks, tool recommendations, statistical tests | No justification for algorithm choices, no communication design details, no scope prioritization | Phase structure, coding task granularity, baseline list, robustness test matrix |

- SYNTHESIS: Key Design Decisions

- 1. PRIMARY MARL ALGORITHM: MAPPO (Multi-Agent PPO)

Why not QMIX or MADDPG?

- MAPPO has the strongest empirical results in cooperative continuous control (Yu et al., 2022, "The Surprising Effectiveness of MAPPO")

- DOCR actions are continuous (TDS, PS) — MAPPO handles this natively with Gaussian policies

- QMIX is designed for discrete actions (Q-learning) — poor fit for continuous relay settings

- MADDPG suffers from training instability and high sample complexity — too risky for thesis timeline

- Decision: MAPPO as primary, IPPO as baseline, QMIX as ablation (if time permits)

- 2. COMMUNICATION: GNN-Based Learned Communication

Why not fixed broadcast or no communication?

- Thesis claims "communication-efficient" — fixed broadcast violates this

- No communication (IPPO) cannot achieve coordination in large networks

- GNN learns what to communicate, not just how much — agents compress observations into 8-float messages (~32 bytes)

- Bandwidth limit: 1 kbps per agent (practical for RF mesh/AMI)

- Publishable contribution: First application of learned communication graphs to power system protection

- 3. SAFE RL: Augmented Lagrangian + Action Projection

Why both?

- Action projection (clipping) prevents immediate constraint violation but doesn't learn to respect them

- Augmented Lagrangian provides theoretical guarantee of zero CTI violations at convergence

- Dual ascent updates Lagrange multipliers per episode — adapts to changing PV conditions

- Decision: Use both for hard constraints (CTI ≥ 0.3s) and soft penalties for optimization guidance

- 4. CURRICULUM: 6-Stage Progression

Why 6 stages instead of 5?

- User methodology proposed 6 PV levels (0,20,40,60,80,100%) — finer granularity

- AI roadmap proposed 5 stages — coarser but faster

- Unified decision: 6 stages for better credit assignment and smoother learning

- Stages: Static → PV@20% → PV@40% → PV@60% → PV@80% → PV@100% + topology changes

- 5. BASELINE PRIORITY: Tiered Must-Have vs Nice-to-Have

Table

| Priority | Baseline | Why |
| --- | --- | --- |
| Must-Have (1) | GA-SQP | Direct reproduction of Al-Bhadely & İnan paper — validates your implementation |
| Must-Have (2) | Single-PPO | Proves that decentralization (MARL) beats centralization even with RL |
| Should-Have (3) | HWOA | User requested; shows awareness of recent literature |
| Nice-to-Have (4) | HHO, JAYA, EEO | If time permits; demonstrates breadth of comparison |
| Nice-to-Have (5) | Single-DQN | Discrete action baseline; less relevant for continuous settings |

- 6. SCOPE FREEZE: Unbalanced Faults in Generalization Only

Why not train on all fault types?

- 3-phase faults dominate distribution protection studies (90%+ of relay coordination literature)

- Unbalanced faults (1ph, 2ph-g) add significant complexity without proportional insight

- Decision: Train primarily on 3ph; test generalization on LL/1ph/2ph-g in Phase 7

- This satisfies "unseen fault robustness" without exploding training time

- PHASE-BY-PHASE SYNTHESIS

- Phase 1: Baseline Network Modeling (Weeks 1-3)

Merged from: User Phase 1 + AI Phase 1 (condensed)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| pandapower/PyPower/OpenDSS | pandapower recommended | pandapower — native Python, easier debugging, good IEEE data |
| 6 PV levels (0-100%) | 5 levels | 6 levels — user granularity with AI's Markov cloud model |
| All 4 fault types | 3ph + 2ph | 3ph primary, others for generalization testing |
| 8/30/39-bus | 3/8/30/39-bus | 8/30/39-bus (3-bus as toy validation only) |

Key Deliverable: DistributionNetwork class with dynamic power flow + PV inverter fault model

- Phase 2: Decentralized Agent Architecture (Weeks 4-5)

Merged from: User Phase 2 + AI Phase 2 (agent design)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| S=[V,I,P_dir,I_fault,PV_level,Topology] | S=[TMS,PS,I,angle(I),V,P_dir,neighbor_avg,cti_slack,time] | Combined 10-dim state: [V, I, P_dir, I_fault, PV_level, topology, neighbor_TMS, neighbor_PS, cti_slack, time_since_fault] |
| R=w1CTI_ok - w2CTI_viol - w3*TotalTime | R = speed + coord + adaptation + comm_efficiency | Unified reward: R = w1CTI_satisfied - w2CTI_violation - w3TotalTime - w4CommCost + w5*AdaptationSpeed |
| Action = (TDS, PS) | Action = (ΔTMS, ΔPS) | Action = (TDS, PS) direct — simpler for relay engineers to interpret |

- Phase 3: MARL Algorithm Development (Weeks 6-10)

Merged from: User Phase 3 + AI Phase 3 (MARL core)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| IPPO/MAPPO/QMIX/MADDPG | IPPO + Hierarchical + GNN | IPPO (baseline) + MAPPO (primary) + QMIX (ablation) — MADDPG dropped due to instability |
| Ray RLlib / Stable-Baselines3 / PettingZoo | Pure numpy (current codebase) | PyTorch + PyTorch Geometric for GNN; Ray RLlib for distributed training |
| Neighbor observations, limited messages | GNN message passing, 32-byte limit | GNN encoder + 32-byte messages + 1kbps bandwidth limit |

- Phase 4: Adaptive Coordination & Constraints (Weeks 11-12)

Merged from: User Phase 4 + AI Phase 4 (safe RL)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| Constraint projection | Augmented Lagrangian | Both: Action projection (immediate safety) + Augmented Lagrangian (learning) |
| CTI≥0.3s, 0.05≤TDS≤1.1, 0.5≤PS≤2.5 | CTI≥0.2s, 0.05≤TMS≤1.1, PS from load | Unified: CTI≥0.3s (user's stricter standard), 0.05≤TDS≤1.1, PS bounds from network data |
| Not specified | EWC <50 steps | EWC with Fisher masking + curriculum warm-start |

- Phase 5: Large-Scale Training & Scenarios (Weeks 13-15)

Merged from: User Phase 5 + AI Phase 5 (data generation)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| Historical irradiance + synthetic profiles | NREL NSRDB + Markov chains | Both: NSRDB for realism + Markov for controlled experiments |
| 10,000+ episodes | 7,200 experiments (4×5×3×4×30) | 12,000 episodes: 10K train + 2K validation (unseen) |
| Monte Carlo fault injection | Event-driven fault injection | Monte Carlo with stratified sampling — ensures coverage of edge cases |

- Phase 6: Benchmark Comparison (Weeks 16-18)

Merged from: User Phase 6 + AI Phase 6 (evaluation)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| HWOA, HHO, JAYA, EEO + Single-PPO/DQN | GA-SQP + Single-PPO | Tiered: GA-SQP (must) + Single-PPO (must) + HWOA (should) + others (nice-to-have) |
| ANOVA, Wilcoxon, t-test | Friedman + Nemenyi + Cliff's delta | Friedman (primary) + Wilcoxon (pairwise) + Cliff's delta (effect size) |
| Tables, boxplots, CDF, convergence | Convergence + CTI distribution + settings + summary | All of the above + adaptation time plots + communication bandwidth vs performance |

- Phase 7: Robustness & Deployment (Weeks 19-21)

Merged from: User Phase 7 + AI Phase 5 (deployment)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| Delays 10-500ms, loss 5-30% | Delays + packet loss + N-1 | Full matrix: delays (10/50/100/250/500ms) × loss (0/5/10/20/30%) × unseen faults × N-1 |
| HILS + latency | ONNX + IEC 61850 | ONNX export (latency <100ms) + IEC 61850 prototype + optional HILS |
| Sensor noise, false data injection | Byzantine resilience | Both: Gaussian noise + missing measurements + false data + median consensus filtering |

- Phase 8: Statistical Validation & Thesis (Weeks 22-24)

Merged from: User Phase 8 + AI Phase 5 (write-up)

Table

| From User | From AI | Unified Decision |
| --- | --- | --- |
| H0/H1 hypotheses, ANOVA, Wilcoxon, t-test | H0/H1, Friedman, Nemenyi | Unified hypothesis test battery |
| Not specified | Validate 5 novelty claims | Explicit novelty claim validation section in thesis |
| Not specified | LaTeX + GitHub + reproducibility | LaTeX template + GitHub Actions CI + Docker container for reproducibility |

- CRITICAL DIFFERENCES FROM ORIGINAL SOURCES

Table

| Aspect | Original Thesis | Original AI Roadmap | Original User Method | Unified Decision |
| --- | --- | --- | --- | --- |
| CTI threshold | 0.2-0.3s (vague) | 0.2s | 0.3s (strict) | 0.3s — stricter standard shows robustness |
| PV levels | 0-100% (vague) | 0,25,50,75,100% | 0,20,40,60,80,100% | 0,20,40,60,80,100% — 6 levels |
| Primary algorithm | MARL (generic) | IPPO + Hierarchical | IPPO/MAPPO/QMIX/MADDPG | MAPPO — best empirical results |
| Communication | Minimal exchange | GNN + 1kbps | Neighbor msgs, 32 bytes | GNN + 32 bytes + 1kbps — learned compression |
| Safe RL | Not mentioned | Augmented Lagrangian | Constraint projection | Both — dual approach |
| Adaptation | Real-time | EWC <50 steps | Online adaptation | EWC + curriculum warm-start |
| Baselines | GA-SQP | GA-SQP + Single-PPO | HWOA/HHO/JAYA/EEO + Single-PPO/DQN | Tiered priority (see above) |
| Fault types | Not specified | 3ph + 2ph | 3ph/LL/1ph/2ph-g | 3ph train, others generalize |
| Statistical tests | Not specified | Friedman + Nemenyi | ANOVA + Wilcoxon + t-test | Friedman + Wilcoxon + Cliff's delta |
| Deployment | Real-world feasibility | ONNX + IEC 61850 | HILS + latency | ONNX + IEC 61850 + optional HILS |

- FILE STRUCTURE: Unified Codebase

plain

docr_marl_thesis/

├── data/                          # IEEE test systems + PV/load profiles

│   ├── ieee_3bus.json             # Toy validation only

│   ├── ieee_8bus.json

│   ├── ieee_30bus.json

│   ├── ieee_39bus.json            # NEW (from user methodology)

│   ├── pv_profiles/               # NREL NSRDB + synthetic Markov

│   └── load_profiles/             # IEEE RTS time-series

├── network/                       # EXISTING (enhanced)

│   ├── network_data.py            # + 39-bus, + DG bus definitions

│   ├── relay_physics.py           # + bidirectional fault current

│   └── dynamic_network.py         # NEW: pandapower integration

├── pv_model/                      # NEW (from both sources)

│   ├── pv_inverter.py             # IEC 61427-1 / IEEE 1547 fault model

│   └── scenario_generator.py      # Markov clouds + daily profiles

├── environment/                   # EXISTING (major refactor)

│   ├── dynamic_env.py             # REFACTOR: real-time physics

│   ├── relay_sensor.py            # NEW: CT/PT simulation + noise

│   └── topology_manager.py        # NEW: N-1, sectionalizing

├── marl/                          # EXISTING (major expansion)

│   ├── marl_env.py                # REFACTOR: DynamicDOCREnv

│   ├── comm_graph.py              # NEW: GNN message encoder

│   ├── hierarchical_marl.py       # NEW: Multi-level value decomposition

│   ├── safe_rl.py                 # NEW: Augmented Lagrangian + barriers

│   ├── continual_trainer.py       # NEW: EWC + Fisher masking

│   └── marl_agents.py             # REFACTOR: Add communication interface

├── baselines/                     # NEW (from user methodology)

│   ├── ga_sqp.py                  # EXISTING (unchanged)

│   ├── single_agent_ppo.py        # NEW: Centralized PPO baseline

│   └── metaheuristics/            # NEW: HWOA, HHO, JAYA, EEO (optional)

├── evaluation/                    # EXISTING (enhanced)

│   ├── evaluation.py              # + new plot types

│   ├── benchmark_suite.py         # NEW: Automated scenario runner

│   ├── robustness_tests.py        # NEW: Delay, fault injection

│   └── stat_analysis.py           # NEW: Friedman, Nemenyi, Cliff's delta

├── deployment/                    # NEW (from AI roadmap)

│   ├── inference_engine.py        # ONNX export, latency analysis

│   ├── hils_bridge.py             # IEC 61850 GOOSE/SV interface

│   └── byzantine_resilience.py    # Consensus filtering

├── experiments/                   # NEW: Run configurations

│   ├── config_base.yaml

│   ├── config_high_pv.yaml

│   └── config_comm_ablation.yaml

├── tests/                         # Unit + integration tests

├── main.py                        # Entry point

├── requirements.txt               # All dependencies

├── Dockerfile                     # Reproducible environment

└── README.md                      # Installation + usage + reproduction guide

- SUCCESS METRICS: Unified Pass/Fail Criteria

Table

| Metric | Target | Source of Target |
| --- | --- | --- |
| Optimality gap vs. GA-SQP | ≤5% higher OF on static cases | AI roadmap (theoretical) |
| CTI violations at 100% PV | Zero | User methodology (strict) + thesis claim |
| Adaptation time after topology change | <<50 environment steps | AI roadmap (EWC target) |
| Communication bandwidth | <<1 kbps per agent | AI roadmap (practical) |
| Generalization to unseen system | <<10% performance drop | AI roadmap (zero-shot) |
| Inference latency | <<100ms per decision | User methodology (HILS) + AI roadmap |
| Statistical significance | p < 0.05, Cliff's δ > 0.5 | User methodology (ANOVA) + AI roadmap (effect size) |
| Reproducibility | Docker + GitHub Actions CI | AI roadmap (deployment) |

- RECOMMENDED IMMEDIATE NEXT STEPS (Week 1)

- Install pandapower and validate IEEE 8-bus system loads correctly

- Implement PVInverter class with IEC 61427-1 ride-through curve

- Run first experiment: 8-bus, 0% PV, 3ph fault — verify GA-SQP still works

- Run second experiment: 8-bus, 100% PV, 3ph fault — quantify CTI violations

- Document the gap: This becomes your "motivation" section in the thesis

This unified methodology is achievable in 24 weeks (6 months) for a full thesis, or 12 weeks (3 months) if you scope down to 3 test systems, 3 PV levels, and MAPPO only.